Standard Operating Procedure

Triisopropylphosphine

This is an SOP template and is not complete until: 1) lab specific information is entered into the box below 2) lab specific protocol/procedure is added to the protocol/procedure section and 
3) SOP has been signed and dated by the PI and relevant lab personnel.

Print a copy and insert into your 
Laboratory Safety Manual and Chemical Hygiene Plan. 
Refer to instructions for assistance.

| Department: | Click here to enter text. |
| --- | --- |
| Date SOP was written: | Click here to enter a date. |
| Date SOP was approved by PI/lab supervisor: | Click here to enter a date. |
| Principal Investigator: | Click here to enter text. |
| Internal Lab Safety Coordinator/Lab Manager: | Click here to enter text. |
| Lab Phone: | Click here to enter text. |
| Office Phone: | Click here to enter text. |
| Emergency Contact: | Click here to enter text. |
|  | (Name and Phone Number) |
| Location(s) covered by this SOP: | Click here to enter text. |
|  | (Building/Room Number) |

Type of SOP:       ☐ Process            ☒Hazardous Chemical            ☐ Hazardous Class

Purpose

Triisopropylphosphine is pyrophoric, highly flammable, and an acute toxicant.  Spontaneously flammable in air. May be harmful if inhaled. Material is extremely destructive to the tissue of the mucous membranes and upper respiratory tract. May be harmful if absorbed through skin. Causes skin and eye burns. May be harmful if swallowed. Vapors may form explosive mixture with air. Reacts violently with water. Avoid heat, flames and sparks.

Physical & Chemical Properties/Definition of Chemical Group

CAS#: 6476-36-4

Class: Acute toxicant, flammable, pyrophoric liquid

Molecular Formula: C9H21P

Form (physical state): liquid

Color: colorless

Boiling point: 81°C

Potential Hazards/Toxicity

Triisopropylphosphine is pyrophoric liquid, highly flammable, and an acute toxicant.

Spontaneously flammable in air. Extreme caution must be taken.

May be harmful if inhaled. Material is extremely destructive to the tissue of the mucous membranes and upper respiratory tract. May be harmful if absorbed through skin. Causes skin and eye burns. May be harmful if swallowed.

Vapors may form explosive mixture with air. Reacts violently with water. Avoid heat, flames and sparks.

Triisopropylphosphine can produce phosphine, a very toxic gas. Can cause depression of the central nervous system (CNS) and irritation of the lungs. Inhalation may cause tremors, fatigue,  slight  drowsiness,  nausea, vomiting,  cyanosis,  pulmonary edema, rapid pulse, low blood pressure and severe gastric pain and diarrhea.

Overexposure may cause tightness of chest and cough, headache, dizziness, nausea, vomiting, tremor, loss of coordination, diarrhea. Severe poisoning may result in pulmonary edema, cardiovascular collapse, cardiac dysrhythmias, myocardial injury, disordered liver function. Mortality from severe poisoning is high.

Personal Protective Equipment (PPE)

Respirator Protection

Use a full-face respirator with multi-purpose combination (US) respirator cartridges as a backup to engineering controls.

Respirators should be used only under any of the following circumstances:

- As a last line of defense (i.e., after engineering and administrative controls have been exhausted).

- When Permissible Exposure Limit (PEL) has exceeded or when there is a possibility that PEL will be exceeded.

- Regulations require the use of a respirator.

- An employer requires the use of a respirator.

- There is potential for harmful exposure due to an atmospheric contaminant (in the absence of PEL)

- As PPE in the event of a chemical spill clean-up process

Lab personnel intending to use/wear a respirator mask must be trained and fit-tested by ORS and should contact occhealt@uga.edu. This is a UGA requirement described in more detail in the UGA Respiratory Protection Plan and supported by the Office of Research Occupational Health and Safety Program.

Hand Protection

Gloves must be worn in addition to glove box (see engineering controls below). Handle with nitrile or chloroprene gloves. Gloves must be inspected prior to use. Use proper glove removal technique (without touching glove's outer surface) to avoid skin contact with this product. Dispose of contaminated gloves after use in accordance with applicable laws and good laboratory practices. Wash and dry hands.

NOTE: Consult with your preferred glove manufacturer to ensure that the gloves you plan on using are compatible with Triisopropylphosphine

Refer to glove selection chart from the links below:

http://www.ansellpro.com/download/Ansell_8thEditionChemicalResistanceGuide.pdf

OR

http://www.allsafetyproducts.biz/page/74172

OR

http://www.showabestglove.com/site/default.aspx

OR

http://www.mapaglove.com/

Eye Protection

ANSI approved safety glasses or chemical splash goggles. Face shield is also recommended.

Skin and Body Protection

Flame resistant lab coats must be worn and be appropriately sized for the individual and buttoned to their full length. Laboratory coat sleeves must be of sufficient length to prevent skin exposure while wearing gloves. Full length pants and close-toed shoes must be worn at all times by all individuals that are occupying the laboratory area. The area of skin between the shoe and ankle should not be exposed.

Hygiene Measures

Wash thoroughly and immediately after handling. Remove any contaminated clothing and wash before reuse.

Engineering Controls

Pyrophoric chemicals should be used in a glove box or in a closed system in a certified chemical fume hood. Facilities storing or utilizing this material should be equipped with an eyewash facility and a safety shower.

First Aid Procedures

If inhaled

Move into the fresh air immediately and give oxygen. If not breathing give artificial respiration. Seek medical attention immediately.

In case of skin contact

Immediately flush skin with plenty of water for at least 15 minutes while removing contaminated clothing and shoes. Wash any contaminated clothing before reuse. Thoroughly clean shoes before reuse. Seek medical attention immediately.

In case of eye contact

Check for and remove any contact lenses. Rinse thoroughly with plenty of water for at least 15 minutes and consult a physician. Seek immediate medical attention and continue eye rinse during transport to hospital.

If swallowed

Do NOT induce vomiting unless directed by medical personnel. Never give anything by mouth to an unconscious person. Seek medical attention immediately.

Special Handling and Storage Requirements

Precautions for safe handling: Avoid contact with skin and eyes and inhalation. Avoid dust formation or breathing vapors, mist, or gas. Use only with adequate ventilation or respiratory protection. Keep away from heat or sources of ignition. Prevent any build-up of electrostatic charge.

Conditions for safe storage: Pyrophoric, material must be handled and stored under an inert atmosphere of nitrogen or argon.  Flammable materials should be stored in a flammable storage cabinet. Keep container tightly closed in a cool, dry, and well-ventilated place away from incompatible materials and conditions. Avoid dust generation, moisture, and heat. Keep cool and protect from sunlight.

Spill and Accident Procedure

Chemical Spill Dial 911

24-7 On-Call Response to Research, Environment, Health or Safety Concerns Dial 2-5561 from a campus phone or 706-542-5561 from a non-campus line.

Spill – Follow the procedures set out in the UGA Chemical and Laboratory Safety Manual.

[If there are any chemical-specific protocols for responding to a spill, insert them here or mark “none”:]

________________________________________________________________________________________________________________________________________________________________________

# Medical Emergency Dial 911

Life Threatening Emergency, After Hours, Weekends And Holidays – Dial 911 or the emergency phone numbers listed at the beginning of the UGA Chemical and Laboratory Safety Manual

Note: All incidents that result in an injury or property damage must be reported to ORS / ESD using a University Incident/Accident Report.

Non-Life Threatening Emergency – Follow the instructions in the UGA Chemical and Laboratory Safety Manual.

Note: All incidents that result in an injury or property damage must be reported to ORS / ESD using a University Incident/Accident Report.

Decontamination/Waste Disposal Procedure

For general hazardous waste disposal procedures, see Appendix H of the UGA Chemical and Laboratory Safety Manual.

Chemical Specific Procedures: [to be inserted or marked as “none”]

Use proper personal protective equipment for Triisopropylphosphine and properly dispose chemical and contaminated disposables as hazardous waste.

Safety Data Sheet (SDS) Location

UGA personnel can access Online SDS through a link in the upper left corner of the ESD home page (https://esd.uga.edu)  and logging in by using their UGA email user name and password.

Protocol/Procedure

(Add lab specific Protocol/Procedure here)

NOTE

Any deviation from this SOP requires approval from PI.

Documentation of Training (signature of all users is required)

- Prior to conducting any work with Triisopropylphosphine., designated personnel must provide training to his/her laboratory personnel specific to the hazards involved in working with this substance, work area decontamination, and emergency procedures.

- The Principal Investigator must provide his/her laboratory personnel with a copy of this SOP and access to the SDS provided by the manufacturer.

- The Principal Investigator must ensure that his/her laboratory personnel have attended appropriate laboratory safety training or refresher training within the last 12 months.

Principal Investigator SOP Approval

Print name_________________________Signature___________________________

Approval Date:

I have read and understand the content of this SOP:

| Name | Signature | Date |
| --- | --- | --- |
| Click here to enter text. |  | Click here to enter a date. |
| Click here to enter text. |  | Click here to enter a date. |
| Click here to enter text. |  | Click here to enter a date. |
| Click here to enter text. |  | Click here to enter a date. |
| Click here to enter text. |  | Click here to enter a date. |
| Click here to enter text. |  | Click here to enter a date. |
| Click here to enter text. |  | Click here to enter a date. |
| Click here to enter text. |  | Click here to enter a date. |
| Click here to enter text. |  | Click here to enter a date. |
| Click here to enter text. |  | Click here to enter a date. |
| Click here to enter text. |  | Click here to enter a date. |
| Click here to enter text. |  | Click here to enter a date. |
| Click here to enter text. |  | Click here to enter a date. |
| Click here to enter text. |  | Click here to enter a date. |
| Click here to enter text. |  | Click here to enter a date. |