RADIOLOGICAL SURVEY FORM

| Building: |  | Room Number(s): |  | Authorized User: |  | Permit Number: |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Purpose: | Routine survey for the month of |  |
| A circled number denotes a wipe test location | All radiation dose rates are in mr/hr | ND denotes no detectable |  |
| Instruments | Survey Meter | Wipe Counter | Survey By : (print) |  |  |
| Make/Model |  |  | Signature: |  |  |
| Serial Number |  |  | Date/Time: |  | unrestricted area action level = 200 dpm/100 cm2 restricted area action level = 1000 dpm/100cm2 |
| Radiation Dose Rates ("x" the appropriate box) | The area described above has been checked for whole body radiation dose rates and the readings are <0.05 mr/hr unless otherwise noted |  | A radiation dose rate survey is not required per Chapter 6 of the Radiation Safety Manual |  |
| Sewer Disposal: ("x" the appropriate box) | Not approved for sewer disposal |  | Approved for sewer disposal and no sewer disposal was performed this month |  | Approved for sewer disposal and the Sewer Disposal Log for the current month is attached |  |
| Comments: |  |