INSTRUCTIONS FOR THE

RADIOACTIVE MATERIALS PERMIT APPLICATION

PURPOSE

This procedure describes the requirements to be met and the information to be provided in support of an application to use radioactive materials at the University of Georgia.

RULES AND REGULATIONS

Rule 391-3-17.02(10)(b) of the State of Georgia Rules and Regulations for Radioactive Materials requires that the University establish administrative procedures to assure the:

- Safety of procurement and use of radioactive material

- Completion of safety evaluations of proposed uses which take into consideration such matters as the adequacy of facilities and equipment, the training and experience of the user, and the operating or handling procedures

- Review, approval, and recording by the Radiation Safety Committee of safety evaluations of proposed uses prior to the use of the radioactive material

The Radiation Safety Committee is the oversight body for radiation safety within the University, including all affiliated research, clinical, instructional and service units utilizing radiation sources in facilities owned or controlled by the University. Each proposed use of radioactive materials must be approved by the Radiation Safety Committee. Applications that are for routine use, as defined in the Radiation Safety Manual, may be approved by the Radiation Safety Officer and Chairman of the RSC, without a full committee review.

ACRONYMS AND DEFINITIONS

ALARA - As Low As Reasonably Achievable

AU - Authorized User. An individual authorized by the Radiation Safety Committee to acquire and use specific radiation sources and to supervise such use by others

Human use - The intentional use of any radiation source in or on humans

PPE - Personal Protective Equipment

RSO - Radiation Safety Officer

RSC - Radiation Safety Committee

Prospective User - A candidate to become an Authorized User

INITIAL APPLICATIONS

The prospective user should become familiar with applicable portions of the requirements listed in Section 2 of these instructions. After becoming familiar with the requirements, complete the application, have the Department Head review and approve the application, and then send it to Radiation Safety. The RSO will perform a preliminary review and then typically schedules a brief meeting with the prospective user to complete the safety evaluation. The RSO’s safety evaluation and the application are then reviewed by the RSC Chairman.

REVISIONS TO PERMITS

Revisions to a Radioactive Materials Permit should be requested with a Radioactive Materials Permit Amendment form. If the RSO determines that the proposed revision is safe, does not involve any change from the initial safety evaluation, and is within the intent of the initial authorization, the revision will be recommended by the RSO and forwarded to the Radiation Safety Committee Chairman for consideration. The RSO may, however, require additional information before granting approval.

application instructions

Section 1		Prospective User Information

Section 1 is self-explanatory. The emergency contact information should include adequate information for contacting the Authorized User during non-routine work hours, in case of emergency situations. The UGA ID number will only be used to ensure positive identification and will not be stored or entered into any unsecured electronic format.

Section 2		Radiation Safety Procedures

Procurement, use, storage, and disposal of radioactive materials at the University of Georgia must be conducted such that compliance with the following is achieved:

The State of Georgia, Environmental Protection Division, Department of Natural Resources, Rules and Regulations for Radioactive Materials, chapter 391-3-17.

This document may be viewed on the internet via the Georgia Radioactive Materials Program website at the following address:

http://epd.georgia.gov/air/radioactive-materials-program

The University of Georgia Radiation Safety Manual. This document is available from Radiation Safety and also available for viewing or downloading from the Office of Research Safety’s website, which is located at:

http://research.uga.edu/safety/

Please review applicable sections of the above listed documents prior to completing the application.

Section 3		Requested Radioactive Material Types and Quantities

List all radioactive materials to be used under this permit, including sealed and unsealed sources, instrument response test sources, and associated radioactive items. When requesting the maximum possession limit, consider the amount of radioactive material that will be in storage and in samples, etc. Please indicate in the section provided the approximate maximum quantity that will be ordered at one time and the estimated quantity to be ordered during a calendar year.

Section 4		Proposed Use Locations

List your building and room numbers for proposed radioactive material use and storage (including waste). If one location will have all the requested radioactive materials, record “all” in the first column. If specific items will be stored or used in separate rooms or locations, reference them by the item numbers in Section 3. If you are sharing a lab space with another Authorized User, please include those locations as well.

Section 5		Proposed Uses

Provide a summary description of the project. Include general information regarding the purpose of using radioactive materials, the overall objectives of the research, and the benefits to the scientific community and the University. This general description should be suitable for a person not in your field to understand. The purpose of this general description is to have a documented justification for the use of radioactive materials (ALARA concept).

In addition, please provide a more specific description of the experiments or operations involving the use of radioactive material. Include relevant information concerning approximate quantities (mCi or µCi) needed per experiment, specify any proposed animal use, potential mixed waste generation, etc. Attach or reference written protocols as needed.

Non-medical human use of radioactive materials is not permitted under the UGA license. Field use involving a potential release of radioactive material to the environment is highly restricted. Approval for field use may only be granted by the State of Georgia on a case by case basis. At a minimum, an extended time delay in the permit process would be involved in granting approval for this type of field use.

Section 6		Prospective User Training and Experience Summary

In the training history section, record any specific radiation safety courses completed. Include training completed at the University of Georgia as well as other institutions or facilities. Approximate information regarding course hours and dates is sufficient. Supporting documentation such as certificates, class rosters, letters from former radiation safety organizations and the like may be attached to the application, if the documentation is readily available.

In the radiological work experience portion, please describe the types of sealed sources and dispersible radioisotopes you have experience working with. Include general information regarding the maximum quantities of radioactive materials with which you have experience. Quantities should be described in general ranges representative of the typical quantities you have experience handling during individual operations (<1mCi, 1 to 10 mCi, etc.). Again, approximate dates are sufficient.

Section 7		Technician or Assistant Training and Experience Summary

Complete section 7 in the same manner as section 6, except that the training and experience of your primary laboratory technician or assistant is listed.

Section 8		Facilities Description

Please provide a map or diagram of the laboratory as an attachment. Denote on the map and/or describe the proposed radioactive material use facilities. Include locations of hoods, sinks, cold rooms, incubators, LSC units, dishwashers, bio-safety cabinets, autoclaves, and other large equipment. Specify which equipment will be used for radioactive material work. Describe the access controls and locking devices available for security of radioactive material (including waste). The maps should include a room number to identify the area. If an area is shared with another Authorized User, indicate who the area will be shared with.

Please note that the addition or deletion of established locations of radioactive material use must be coordinated through Radiation Safety, generally in the form of a permit amendment.

Section 9		List of Radiation/Contamination Monitoring Equipment

List and describe your monitoring instrumentation in this section. Instrumentation should be appropriate for the type and quantity of radioactive materials to be used. For most users of unsealed radioisotopes, at least one instrument suitable for personnel contamination monitoring must be available at all times in your laboratory. Borrowed or shared instruments are not appropriate for this task. A shared instrument is acceptable for use as a backup.

Portable GM instrumentation calibration services are provided at no charge by UGA Radiation Safety. If your instrument does not have a calibration certificate from a qualified vendor, calibration will be required prior to radioactive material use. In addition, calibration of monitoring instrumentation is required on an annual basis.

In the case of sample counting instruments, such as liquid scintillation counters, shared instruments may also be acceptable. Please denote in the comments section the location of any such instrumentation and identify if they are primary, backup, or shared devices.

Section 10	Waste Handling and Disposal

Waste handling and disposal must be performed in accordance with the instructions specified in the Radiation Safety Manual. Segregation of dry waste, liquid waste, long lived waste, short lived waste, biological waste, and mixed waste is essential. A detailed description must be provided if mixed waste, biomedical radioactive waste, or large quantities of radioactive waste are to be generated. If this detailed information is not required, please include any general information regarding waste reduction, waste handling, and waste volume estimations in this section.

Improper handling of radioactive waste may result in excessive generation of hazardous materials which may be both difficult and costly to dispose of. Excessive costs incurred for radioactive waste disposal may be passed on to the waste generator, if deemed appropriate by the University of Georgia. Please review the waste handling section of the Radiation Safety Manual carefully. Any proposed deviations from the practices described in the manual must be documented in the application process.

If sewer (drain) disposal of very low level aqueous solutions is planned, please indicate this in the space provided in section 10. Include the type and quantities of radionuclides that are proposed to be discharged.

Mixed waste is any combination of a hazardous waste and a radioactive waste. Please complete the information box regarding mixed waste in section 10. Prospective Users planning to generate mixed waste must indicate the type, estimated quantity (activity and volume/weight), and approximate rate that these wastes will be produced. List all chemicals designated by the EPA as hazardous (e.g., P or U listed, flammable, corrosive, toxic, etc.) that will also contain radioactive materials. For each, give the chemical name and the EPA hazardous material identification number as shown on the MSDS. Written justification must be provided for generation of any mixed waste. Prospective Users generating mixed waste must initial the box in section 10 indicating that she/he understands that any excessive costs associated with the disposal of mixed radioactive wastes may have to be funded by the generator or their department.

Prospective Users planning to generate biohazardous waste must indicate the type, quantity (both in activity and volume/weight), and rate that these waste(s) will be produced. See www.ovpr.uga.edu/bio/bsm/bsm_sc03.html for biohazardous waste rules. For each biohazardous component, the Prospective User must describe the methods used to inactivate the biohazard prior to disposal. These methods must be approved by the Office of Biosafety. Prospective Users generating radiological biohazardous waste must initial the box in section 10 indicating that she/he certifies that all radioactive biohazardous wastes generated will be deactivated, decontaminated, or sterilized prior to disposing of it via the normal radioactive waste stream picked up by Radiation Safety.

Section 11	Acknowledgement of Responsibility

This section lists some specific requirements for which the candidate for radioactive material use needs to acknowledge their responsibility. The UGA Radiation Safety Office will provide support and assistance to all radioactive material users in achieving regulatory compliance. Ultimately, the success of any radiation safety program depends upon all individuals involved in radiological work to accept their responsibilities in maintaining exposure to radiation and radioactive materials ALARA.

The prospective user must sign and date in the space provided. Also, the Department Head of the prospective user is required to sign the application. This provides assurance to the Radiation Safety Committee that the Department Head is aware of the proposed use of radioactive materials. Prospective users who are tenants in leased space at the University should have a representative of The University of Georgia’s Research Foundation, Inc. sign as the Department Head.

Submission of Paperwork

Please submit all paperwork to the following address. You should contact the Radiation Safety Office if you have any questions in completing the application.

UGA Radiation Safety Office

Office of Research

310 East Campus Road

Athens, GA 30602